## measured-compounds
compound_id | compound_name | retention_time | retention_time_comment | adduct_name | molecular_formula
4 | Metamitron-desamino | 5.31 | nan | M+H | C10H10N3O1
7 | MCPA-D6 | 9.7 | nan | M-H | C9H2[2]H6O3Cl1
8 | MCPA-D3 | 18.8 |  | M-H | C9H5[2]H3O3Cl1
15 | 2,4-D-D3 | 9.24 | nan | M+H | C8H4[2]H3O3Cl2
15 | 2,4-D-D3 | 9.24 | nan | M-H | C8H2[2]H3O3Cl2
16 | 2,4-D 13C6 | 9.4 | nan | M-H | C2[13]C6H5O3Cl2
21 | Bentazone-D6 | 7.7 | nan | M-H | C10H5[2]H6N2O3S1
24 | Bromoxynil | 8.5 | nan | M-H | C7H2N1O1Br2
30 | Sulcotrion-D3 | 7.1 | nan | M+H | C14H11[2]H3O5S1Cl1
30 | Sulcotrion-D3 | 7.1 | nan | M-H | C14H9[2]H3O5S1Cl1
32 | Mesotrion-D3 | 6.5 | nan | M+H | C14H11[2]H3N1O7S1
32 | Mesotrion-D3 | 6.5 | nan | M-H | C14H9[2]H3N1O7S1
39 | Atrazin-D5 | 18.3 |  | M+H | C8H10[2]H5N5Cl1
43 | Chlortoluron-D6 | 18 |  | M+H | C10H8[2]H6N2O1Cl1
45 | Diazinon-D10 | 20.74 |  | M+H | C12H12[2]H10N2O3P1S1
47 | Dimethenamid-D3 | 19.4 |  | M+H | C12H16[2]H3N1O2S1Cl1
49 | Diuron-D6 | 18.6 |  | M+H | C9H5[2]H6N2O1Cl2
49 | Diuron-D6 | 18.6 |  | M-H | C9H3[2]H6N2O1Cl2
52 | 4-Isopropylaniline | 5.57 | nan | M+H | C9H14N1
54 | Isoproturon-D6 | 18.5 |  | M+H | C12H13[2]H6N2O1
58 | Metamitron | 5.16 | nan | M+H | C10H11N4O1
62 | Metolachlor-D6 | 20.3 |  | M+H | C15H17[2]H6N1O2Cl1
67 | Metolachlor-Morpholinon | 8.37 | nan | M+H | C14H20N1O2
69 | Orbencarb | 13.66 | nan | M+H | C12H17N1O1S1Cl1
71 | Prosulfocarb | 14.81 | nan | M+H | C14H22N1O1S1
74 | Simazin-D5 | 16.94 |  | M+H | C7H8[2]H5N5Cl1
76 | Tebutam-D4 | 20.26 |  | M+H | C15H20[2]H4N1O1
78 | Terbutylazin-D5 | 19.7 |  | M+H | C9H12[2]H5N5Cl1
85 | 2,6-Dichlorbenzamide | 4.07 | nan | M+H | C7H6N1O1Cl2
86 | Cyproconazole | 11.56 | Doppelpeak RT Mittelwert,Diastereomere möglich | M+H | C15H19N3O1Cl1
87 | Ioxynil | 9.7 | nan | M-H | C7H2N1O1I2
88 | Chloridazon | 5.48 | nan | M+H | C10H9N3O1Cl1
89 | Azoxystrobin | 10.27 | nan | M+H | C22H18N3O5
90 | Metribuzin | 7.21 | nan | M+H | C8H15N4O1S1
91 | Metribuzin-deamino (DA) | 7.67 | nan | M+H | C8H14N3O1S1
93 | Metribuzin-diketo (DK) | 6.04 | unbekannter Störpeak bei 12.7 min (vermutlich aus Mix 5) | M+Na | C7H12N4O2Na1
94 | Phenmedipham | 9.81 | isobar zu Desmedipham | M+H | C16H17N2O4
95 | Epoxiconazole | 12.09 | nan | M+H | C17H14N3O1Cl1F1
96 | Prochloraz | 12.56 | nan | M+H | C15H17N3O2Cl3
97 | Flusilazole | 12.71 | nan | M+H | C16H16N3F2Si1
99 | Alachlor ESA | 7.8 | Isobar mit Acetochlor-ESA (gleiche RT!) Doppelpeak RT-Mittelwert | M-H | C14H20N1O5S1
100 | Alachlor OXA | 7.7 | Isobar mit Acetochlor-ESA (gleiche RT!) Doppelpeak RT-Mittelwert | M-H | C14H18N1O4
100 | Alachlor OXA | 7.7 | Isobar mit Acetochlor-ESA (gleiche RT!) Doppelpeak RT-Mittelwert | M+Na | C14H19N1O4Na1
102 | Acetochlor OXA | 7.7 | Isobar mit Alachlor-OXA (gleiche RT!) Doppelpeak RT-Mittelwert | M-H | C14H18N1O4
103 | Acetochlor ESA | 7.8 | Isobar mit Alachlor-ESA (gleiche RT!) Doppelpeak RT-Mittelwert | M-H | C14H20N1O5S1
104 | Acetochlor | 12 | Interference with Alachlor (same m/z &RT) -> use in-source fragment m/z 224.0836682 for quantification (higher sensitivity and separation from Alachlor), Störpeak bei 11.50 auch auf Cl37-Spur | M+H | C14H21N1O2Cl1
109 | Bifenox acid | 11.75 | nan | M-H | C13H6N1O5Cl2
112 | Cymoxanil | 5.79 | isobar zu Cl37-Peak von 1-(3-Chlorophenyl)-piperazin, aber andere RT | M+H | C7H11N4O3
112 | Cymoxanil | 5.79 | isobar zu Cl37-Peak von 1-(3-Chlorophenyl)-piperazin, aber andere RT | M+Na | C7H10N4O3Na1
116 | Diflufenican | 14.74 | nan | M+H | C19H12N2O2F5
117 | Ethofumesate | 10.39 | nan | M+H | C13H19O5S1
118 | Ethofumesate-2-keto | 6.25 | 2 Peaks in der Einzeleinspritzung (RT 5.9; 6.7) | M+H | C11H13O5S1
119 | Fluazinam | 14.49 | nan | M+H | C13H5N4O4Cl2F6
119 | Fluazinam | 14.49 | nan | M-H | C13H3N4O4Cl2F6
120 | Napropamide | 11.94 | nan | M+H | C17H22N1O2
122 | Propaquizafop | 15.45 | nan | M+H | C22H23N3O5Cl1
124 | Thifensulfuron-methyl | 7.2 | nan | M-H | C12H12N5O6S2
125 | 2-Methyl-4-amino-6-methoxy-s-triazine | 2.1 | nan | M+H | C5H9N4O1
126 | Benzoic acid, 2-(aminosulfonyl)-, methyl ester | 4.59 | nan | M+H | C8H10N1O4S1
128 | Metsulfuron-methyl | 7.44 | nan | M+H | C14H16N5O6S1
128 | Metsulfuron-methyl | 7.44 | nan | M-H | C14H14N5O6S1
129 | Nicosulfuron | 7.31 | nan | M+H | C15H19N6O6S1
130 | Rimsulfuron | 8.14 | nan | M+H | C14H18N5O7S2
132 | Prometon | 7.09 | Isobar zu Terbumeton, gleiche RT!! Screening-Gradient, Xbridge | M+H | C10H20N5O1
133 | Prometryn | 8.89 | isobar zu Terbutryn, gleiche RT mit Prometryn | M+H | C10H20N5S1
134 | Fluroxypyr | 7.2 | nan | M-H | C7H4N2O3Cl2F1
135 | Metalaxyl | 9 | isobar zu Metolachlor OXA | M+H | C15H22N1O4
136 | Carbetamide | 6.9 | nan | M-H | C12H15N2O3
138 | 2-Aminobenzimidazole | 2.93 | Isobare zu 5-Methyl-Benzotriazol | M+H | C7H8N3
139 | Clomazone | 9.75 | nan | M+H | C12H15N1O2Cl1
142 | Propazine-2-hydroxy | 5.59 | Isobar zu Terbutylazin-2-hydroxy und gleiche RT! (5.68) und isobar zu Atraton (RT=6.23), X-Bridge 87, Screening-Gradient | M+H | C9H18N5O1
144 | Desmedipham | 9.81 | isobar zu Phenmedipham | M+H | C16H17N2O4
144 | Desmedipham | 9.81 | isobar zu Phenmedipham | M+Na | C16H16N2O4Na1
146 | Fenpropimorph | 9.73 | nan | M+H | C20H34N1O1
147 | Fluazifop | 11.1 | nan | M-H | C15H11N1O4F3
148 | Cyprodinil | 10 | nan | M+H | C14H16N3
150 | Trinexapac | 4.82 | nan | M-H | C11H11O5
151 | Trinexapac-ethyl | 9.24 | nan | M+H | C13H17O5
154 | Kresoxim-methyl | 12.84 | nan | M+H | C18H20N1O4
156 | Asulam | 2.53 | nan | M+H | C8H11N2O4S1
157 | Atraton | 6.14 | isobar zu Terbuthylazin-2-hydroxy (RT=5.68) und Propazine-2-hydroxy (RT=5.68), Atraton: RT=6.23, X-Bridge 87, Screeening Gradient | M+H | C9H18N5O1
159 | Aclonifen | 12.8 |  | M+H | C12H10N2O3Cl1
159 | Aclonifen | 12.8 |  | M+Na | C12H9N2O3Cl1Na1
160 | Linuron | 10.31 | nan | M+H | C9H11N2O2Cl2
161 | Monuron | 7.07 | nan | M+H | C9H12N2O1Cl1
162 | Fludioxonil | 11 | nan | M-H | C12H5N2O2F2
163 | Bisphenol A | 13.55 | nan | M+H | C15H17O2
163 | Bisphenol A | 13.55 | nan | M+Na | C15H16O2Na1
166 | Benzotriazole | 4.68 | nan | M+H | C6H6N3
167 | 5-Methyl-1H-benzotriazole | 6.1 | isobar mit 2-Aminobenzimidazol (RT2.93), 1-Methylbenzotriazol (RT5.0), aber andere Retentionszeiten, es kann nur die Summe aus 4 und 5-Methylbenzotriazol quantifiziert werden, 4-Methylbenzotriazol nicht im STD | M+H | C7H8N3
168 | Triclosan | 15.2 | nan | M+H | C12H8O2Cl3
168 | Triclosan | 15.2 | nan | M-H | C12H6O2Cl3
169 | Atenolol | 2.33 | nan | M+H | C14H23N2O3
170 | Sotalol | 1.87 | nan | M+H | C12H21N2O3S1
171 | Propranolol | 6.97 | nan | M+H | C16H22N1O2
171 | Propranolol | 6.97 | nan | M-H | C16H20N1O2
172 | Metoprolol | 5.37 | nan | M+H | C15H26N1O3
177 | Sulfamethoxazol-D4 | 13 |  | M+H | C10H8[2]H4N3O3S1
179 | Sulfadiazine | 2.41 | nan | M+H | C10H11N4O2S1
180 | Sulfadiazin-D4 | 10.1 |  | M+H | C10H7[2]H4N4O2S1
181 | Sulfamethazine | 4.13 | nan | M+H | C12H15N4O2S1
182 | Sulfamethazine-13C6 | 12.1 |  | M+H | C6[13]C6H15N4O2S1
183 | Sulfadimethoxine | 6.02 | nan | M+H | C12H15N4O4S1
184 | Sulfadimethoxin-D4 | 14.9 |  | M+H | C12H11[2]H4N4O4S1
185 | Sulfathiazole | 2.98 | nan | M+H | C9H10N3O2S2
185 | Sulfathiazole | 2.98 | nan | M-H | C9H8N3O2S2
186 | Sulfathiazol-D4 | 10.4 |  | M+H | C9H6[2]H4N3O2S2
187 | Tylosin | 8.5 | nan | M+H | C46H78N1O17
189 | Erythromycin | 8.63 | Isobar zu N-Desmethylclarithromycin (RT von Erythromycin um 1.2 min niedriger; Screening-Gradient, Xbridge); RT Atlantis: Doppelpeak RT-Mittelwert | M+H | C37H68N1O13
190 | Azithromycin | 6.33 | nan | M+H | C38H73N2O12
191 | Clarithromycin | 10.1 | nan | M+H | C38H70N1O13
192 | Roxithromycin | 10.39 | nan | M+H | C41H77N2O15
194 | Carbamazepine | 8.03 | nan | M+H | C15H13N2O1
195 | Primidone | 5.61 | nan | M+H | C12H15N2O2
196 | Ranitidine | 2.29 | nan | M+H | C13H23N4O3S1
197 | Metronidazole | 2.35 | nan | M+H | C6H10N3O3
199 | Trimethoprim | 4.15 | nan | M+H | C14H19N4O3
201 | Diclofenac | 13.04 | nan | M+H | C14H12N1O2Cl2
201 | Diclofenac | 13.04 | nan | M-H | C14H10N1O2Cl2
202 | Naproxen | 10.39 | nan | M+H | C14H15O3
203 | Ibuprofen | 13.52 | nan | M+H | C13H19O2
203 | Ibuprofen | 13.52 | nan | M+Na | C13H18O2Na1
204 | Clofibric acid | 10.2 | isobar zu Mecoprop | M-H | C10H10O3Cl1
205 | Ketoprofen | 9.92 | nan | M+H | C16H15O3
207 | Indomethacin | 13.07 | nan | M+H | C19H17N1O4Cl1
207 | Indomethacin | 13.07 | nan | M+Na | C19H16N1O4Cl1Na1
208 | Mefenamic acid | 14.82 | nan | M+H | C15H16N1O2
209 | Bezafibrate | 10.8 | nan | M+H | C19H21N1O4Cl1
212 | Propiconazole | 13.36 | Diastereomere möglich | M+H | C15H18N3O2Cl2
213 | N,N-Diethyl-3-methylbenzamide (DEET) | 8.89 | nan | M+H | C12H18N1O1
229 | Octocrylene | 17.48 | nan | M+Na | C24H27N1O2Na1
230 | Benzophenone-3 | 12.32 | nan | M+H | C14H13O3
231 | Iohexol | 1.7 | nan | M+H | C19H27N3O9I3
231 | Iohexol | 1.7 | nan | M+NH4 | C19H30N4O9I3
232 | Norfloxacin | 4.54 | nan | M+H | C16H19N3O3F1
234 | Sulfapyridine | 3.17 | nan | M+H | C11H12N3O2S1
236 | 4-Acetamidoantipyrine | 4.03 | angedeuteter Doppelpeak RT Mittelwert | M+H | C13H16N3O2
239 | Diatrizoate | 2 | nan | M+H | C11H10N2O4I3
239 | Diatrizoate | 2 | nan | M+NH4 | C11H13N3O4I3
240 | Iomeprol | 1.25 | Isobar mit IopamidolRT1.2 aber RT später | M+H | C17H23N3O8I3
240 | Iomeprol | 1.25 | Isobar mit IopamidolRT1.2 aber RT später | M+NH4 | C17H26N4O8I3
241 | Iopamidol | 1.3 | Isobar mit IomeprolRT1.6 aber RT früher | M+H | C17H23N3O8I3
241 | Iopamidol | 1.3 | Isobar mit IomeprolRT1.6 aber RT früher | M+NH4 | C17H26N4O8I3
242 | Iopromide | 2.88 | nan | M+H | C18H25N3O8I3
242 | Iopromide | 2.88 | nan | M+NH4 | C18H28N4O8I3
242 | Iopromide | 2.88 | nan | M-H | C18H23N3O8I3
243 | Paracetamol | 2.29 | nan | M+H | C8H10N1O2
245 | N4-Acetylsulfadimethoxine | 6.61 | nan | M+H | C14H17N4O5S1
247 | N4-Acetylsulfamethazine | 4.84 | nan | M+H | C14H17N4O3S1
248 | N4-Acetylsulfadiazine | 3.84 | nan | M+H | C12H13N4O3S1
249 | N4-Acetylsulfathiazole | 4.34 | nan | M+H | C11H12N3O3S2
253 | Bentazone | 7.8 | nan | M-H | C10H11N2O3S1
254 | Dimethenamid | 10.4 | nan | M+H | C12H19N1O2S1Cl1
255 | Tebutam | 12.03 | nan | M+H | C15H24N1O1
256 | Hexazinone | 7.35 | nan | M+H | C12H21N4O2
257 | Dinoseb | 13.3 | Störpeak in blanks mit fast gleicher RT auf Antlantnis-Säule (0.08 min auseinander) | M-H | C10H11N2O5
258 | Mesotrione | 6.46 | nan | M+H | C14H14N1O7S1
259 | Dimethenamid OXA | 7.5 | nan | M-H | C12H16N1O4S1
260 | Dimethenamid ESA | 6.8 | nan | M+NH4 | C12H23N2O5S2
260 | Dimethenamid ESA | 6.8 | nan | M-H | C12H18N1O5S2
261 | MCPA | 9.8 | nan | M-H | C9H8O3Cl1
262 | Simazine | 7.23 | Isobar zu Terbutylazin-desethyl: RT von Simazin ist um 0.6 min niedriger; Screening-Gradient, Xbridge) | M+H | C7H13N5Cl1
263 | Mesotrione MNBA | 1.1 | nan | M-H | C8H6N1O6S1
265 | Metolachlor OXA | 9.3 | isobar zu Metalaxyl | M-H | C15H20N1O4
266 | Bromazil | 7.31 | nan | M+H | C9H14N2O2Br1
267 | 2,4-D | 9.4 | Isobar mit Dicamba; Cl37-Signal bei 220.9592 weniger verrauscht | M-H | C8H5O3Cl2
268 | Metolachlor | 12.06 | nan | M+H | C15H23N1O2Cl1
269 | Metazachlor | 8.83 | nan | M+H | C14H17N3O1Cl1
270 | Dichlorprop | 10.9 | nan | M-H | C9H7O3Cl2
271 | Ethylenethiourea (ETU) | 1.2 | nan | M+H | C3H7N2S1
271 | Ethylenethiourea (ETU) | 1.2 | nan | M+Na | C3H6N2S1Na1
272 | Aldicarb | 6.41 | nan | M+NH4 | C7H18N3O2S1
272 | Aldicarb | 6.41 | nan | M+Na | C7H14N2O2S1Na1
273 | Chlortoluron | 8.51 | nan | M+H | C10H14N2O1Cl1
274 | Alachlor | 11.91 | Interference with Acetochlor (same m/z & RT) -> use in-source fragment m/z 238.0993183 for quantification (higher sensitivity & seperation from acetochlor), Störpeak bei 11.50 auch auf Cl37-Spur | M+H | C14H21N1O2Cl1
275 | Dicamba | 7.2 | Isobar mit 2-4-D; Dicamba hat eine tiefere I und eluiert zu erst | M-H | C8H5O3Cl2
276 | Ciprofloxacin | 4.68 | nan | M+H | C17H19N3O3F1
277 | Atrazine-desethyl-2-hydroxy | 1.6 | nan | M+H | C6H12N5O1
278 | Carbendazim | 3.77 | nan | M+H | C9H10N3O2
279 | Atrazine-2-hydroxy | 4.68 | Isobar zu Simeton (RT = 5.33), Peak mit niedriger RT ist Atrazin-2-Hydroxy (RT= 4.80) | M+H | C8H16N5O1
280 | 5-Chloro-2-methyl-4-isothiazolin-3-one (CMI) | 12.4 |  | M+H | C4H5N1O1S1Cl1
281 | 2-Methylisothiazolin-3-one (MI) | 8 |  | M+H | C4H6N1O1S1
283 | Irgarol-descyclopropyl | 7.04 | nan | M+H | C8H16N5S1
284 | Terbutylazine | 10.47 | nan | M+H | C9H17N5Cl1
285 | Isoproturon-desmethyl | 8.34 | nan | M+H | C10H15N2O1
286 | Isoproturon | 9.03 | nan | M+H | C12H19N2O1
287 | Atrazine-6-desisopropyl | 4.54 | nan | M+H | C5H9N5Cl1
288 | Atrazine | 8.65 | nan | M+H | C8H15N5Cl1
289 | Diuron-desdimethyl | 8.54 | nan | M+H | C7H7N2O1Cl2
290 | Sulcotrione | 7.09 | nan | M+H | C14H14O5S1Cl1
290 | Sulcotrione | 7.09 | nan | M-H | C14H12O5S1Cl1
291 | Sulcotrione CMBA | 2.5 | nan | M-H | C8H6O4S1Cl1
292 | Diuron | 9.25 | nan | M+H | C9H11N2O1Cl2
293 | Diazinon | 13.27 | nan | M+H | C12H22N2O3P1S1
294 | Diuron-monomethyl (DCPMU) | 9.15 | nan | M+H | C8H9N2O1Cl2
295 | Bronopol | 1.8 | nan | M+FA-H | C4H8N1O6Br1
295 | Bronopol | 1.8 | nan | M-H | C3H5N1O4Br1
296 | N,N-Dimethyl-N'-phenylsulphamide (DMSA) | 6.61 | nan | M+H | C8H13N2O2S1
298 | Sulfamethoxazole | 4.84 | nan | M+H | C10H12N3O3S1
299 | N4-Acetylsulfamethoxazole | 5.75 | nan | M+H | C12H14N3O4S1
300 | 2-n-Octyl-4-isothiazolin-3-one (OI) | 12.03 | nan | M+H | C11H20N1O1S1
301 | Benzisothiazolone (BIT) | 5.26 | nan | M+H | C7H6N1O1S1
302 | Irgarol 1051 | 9.54 | nan | M+H | C11H20N5S1
303 | Caffeine | 4.19 | nan | M+H | C8H11N4O2
304 | Isoproturon-N-monodemethyl | 8.86 | nan | M+H | C11H17N2O1
305 | Iodopropynyl butylcarbamate (IPBC) | 8.75 | nan | M+H | C8H13N1O2I1
305 | Iodopropynyl butylcarbamate (IPBC) | 8.75 | nan | M-H | C8H11N1O2I1
306 | Terbutryn | 8.89 | isobar zu Prometryn, gleiche RT mit Terbutryn | M+H | C10H20N5S1
307 | 4-Chloro-2-methylphenol | 9.62 | Wird im spray aus MCPA (RT 9.9), MCPB (RT 12.37) und Mecoprop (RT 11.34) gebildet, RT= 9.30, knapp vor MCPA | M-H | C7H6O1Cl1
308 | Mecoprop | 11.1 | isobar zu Clofibrinsäure | M-H | C10H10O3Cl1
309 | Atrazine-desethyl | 5.87 | nan | M+H | C6H11N5Cl1
310 | Dicamba-D3 | 7.2 | nan | M-H | C8H2[2]H3O3Cl2
311 | Alachlor-D13 | 20.5 |  | M+H | C14H8[2]H13N1O2Cl1
313 | Dichlorprop-D6 | 10.8 | nan | M-H | C9H1[2]H6O3Cl2
314 | Atrazin-Desethyl-15N3 | 15.3 |  | M+H | C6H11N2[15]N3Cl1
315 | N4-Acetyl-Sulfamethoxazol-D4 | 14.5 |  | M+H | C12H10[2]H4N3O4S1
316 | Sotalol-D6 | 8.2 |  | M+H | C12H15[2]H6N2O3S1
317 | Propranolol-D7 | 14.3 |  | M+H | C16H15[2]H7N1O2
318 | Atenolol-D7 | 8.6 |  | M+H | C14H16[2]H7N2O3
319 | Ibuprofen-D3 | 21 |  | M+H | C13H16[2]H3O2
319 | Ibuprofen-D3 | 21 |  | M+NH4 | C13H19[2]H3O2N1
319 | Ibuprofen-D3 | 21 |  | M+Na | C13H15[2]H3O2Na1
320 | Diclofenac-D4 | 13 | nan | M+H | C14H8[2]H4N1O2Cl2
320 | Diclofenac-D4 | 13 | nan | M-H | C14H6[2]H4N1O2Cl2
321 | Clofibrinsäure-D4 | 10.2 | nan | M-H | C10H6[2]H4O3Cl1
323 | Erythromycin-13C2 | 16 |  | M+H | C35[13]C2H68N1O13
325 | 3-Phenoxybenzylalcohol | 7.68 | nan | M+H | C13H13O2
326 | 3-Phenoxybenzoic acid | 11.4 | nan | M-H | C13H9O3
327 | Tebuconazole | 13.27 | nan | M+H | C16H23N3O1Cl1
328 | Fluconazole | 5.61 | nan | M+H | C13H13N6O1F2
329 | Clotrimazole | 9.16 | nan | M+H | C22H18N2Cl1
330 | Formamide, N-(2,4-dimethylphenyl)- | 6.91 | Isobar zu N-Methylacetanilide (RT von 2,4-dimethylformamid um 0.7 min höher) und unbekannter Störpeak (RT von 2,4-dimethylphenylformamid um 0.2 min höher); Screening Gradient, Xbridge | M+H | C9H12N1O1
331 | N'-(2,4-Dimethylphenyl)-N-methylformamidine | 4.44 | Isobar zu Nicotine; | M+H | C10H15N2
334 | Fluoxetine | 9.62 | nan | M+H | C17H19N1O1F3
336 | Fenofibrate | 15.78 | nan | M+H | C20H22O4Cl1
337 | Fenofibric acid | 12.8 | nan | M+H | C17H16O4Cl1
338 | Antipyrin (Phenazon, ID 338) | 4.92 | nan | M+H | C11H13N2O1
340 | N,N-Dimethyl-N'-p-tolylsulphamide | 7.79 | nan | M+H | C9H15N2O2S1
341 | N,N-Dimethylsulfamide | 1.3 | nan | M+H | C2H9N2O2S1
342 | Ioxitalamic acid | 9.2 |  | M+H | C12H12N2O5I3
342 | Ioxitalamic acid | 9.2 |  | M+NH4 | C12H15N3O5I3
343 | Benzothiazole | 6.73 | nan | M+H | C7H6N1S1
344 | 4,5-Dichloro-2-n-octyl-3(2H)-isothiazolone (DCOIT) | 15.69 | nan | M+H | C11H18N1O1S1Cl2
346 | Terbumeton | 7.09 | Isobar zu Prometon, gleiche RT!, Screening-Gradient, Xbridge | M+H | C10H20N5O1
346 | Terbumeton | 7.09 | Isobar zu Prometon, gleiche RT!, Screening-Gradient, Xbridge | M+NH4 | C10H23N6O1
347 | Terbutylazine-2-hydroxy | 5.59 | Isobar zu Propazine-2-hydroxy und gleiche RT! (5.68) und isobar zu Atraton (RT=6.23), X-Bridge 87, Screening-Gradient; | M+H | C9H18N5O1
502 | Metolachlor ESA | 8 | Mit Atlantis Gradient: Eluiert erst im nächsten Run, nicht analysierbar. | M-H | C15H22N1O5S1
632 | Benzotriazol-D4 | 13.4 |  | M+H | C6H2[2]H4N3
633 | Azithromycin-D3 | 13.1 |  | M+H | C38H70[2]H3N2O12
634 | Clarithromycin-D3 | 10.1 | nan | M+H | C38H67[2]H3N1O13
638 | N-Methylacetanilide | 6.22 | Isobare zu 2,4-dimethylphenylformamide (RT 6.60) | M+H | C9H12N1O1
641 | 4-Amino-N-acetyl-N-methylaniline | 1.84 | nan | M+H | C9H13N2O1
643 | Diglyme | 3.34 | nan | M+H | C6H15O3
644 | Pantoprazol | 6.91 | nan | M+H | C16H16N3O4S1F2
645 | Venlafaxine | 6.53 | nan | M+H | C17H28N1O2
646 | Surfynol 104A | 13.47 | Doppelpeak, beide auch in Einzeleinspritzung | M+H | C14H27O2
646 | Surfynol 104A | 13.47 | Doppelpeak, beide auch in Einzeleinspritzung | M+Na | C14H26O2Na1
647 | 4,4'-Dinitro-2,2'-stilbenedisulfonic acid (DNS) | 5.2 | nan | M-H | C14H9N2O10S2
649 | Amsonic acid (DAS) | 13.3 | nan | M-H | C14H13N2O6S2
652 | Sulfanilic acid | 0.9 | nan | M-H | C6H6N1O3S1
653 | 2-Naphthalenesulfonic acid | 5.4 | nan | M-H | C10H7O3S1
654 | 2,7-Naphthalenedisulfonic acid | 1 | nan | M-H | C10H7O6S2
655 | 2-Amino-1,5-naphthalenedisulfonic acid | 4.4 |  | M-H | C10H8N1O6S2
657 | Clindamycin | 7.15 | nan | M+H | C18H34N2O5S1Cl1
658 | Oseltamivir | 7.31 | nan | M+H | C16H29N2O4
659 | Oseltamivir carboxylate | 5.43 | nan | M+H | C14H25N2O4
660 | Galaxolidon | 14.93 | nan | M+H | C18H25O2
661 | Exemestane | 10.31 | nan | M+H | C20H25O2
663 | Flufenacet ESA | 6.2 | nan | M-H | C11H13N1O4S1F1
664 | Flufenacet OXA | 6.1 | nan | M-H | C11H11N1O3F1
665 | Propachlor ESA | 5.9 | nan | M-H | C11H14N1O4S1
666 | Propachlor OXA | 5.8 | nan | M-H | C11H12N1O3
667 | Simeton | 5.22 | Isobar zu Atrazin-2-hydroxy (RT = 4.8), Simeton hat höhere RT (5.33), Säule 70, Screening-Gradient | M+H | C8H16N5O1
668 | Simazine-2-hydroxy | 3.61 | Mittelwert, isobar mit Terbuthylazine-desethyl-2-hydroxy (2.72 und 3.24) | M+H | C7H14N5O1
671 | Terbutylazine-desethyl | 7.85 | Isobar mit Simazin (RT von Terbutylazin-desethyl is um 0.6 min höher; Screening-Gradient, Xbridge) | M+H | C7H13N5Cl1
672 | Terbutylazine-desethyl-2-hydroxy | 3.03 | Isobar mit Simazin-2-hydroxy: Terbutylazin-desethyl-2-hydroxy hat niederigere RT | M+H | C7H14N5O1
673 | 4-Trifluoromethylphenol | 9 | nan | M-H | C7H4O1F3
674 | Verapamil | 7.69 | nan | M+H | C27H39N2O4
675 | Coffein-D9 | 12.5 |  | M+H | C8H2[2]H9N4O2
678 | Mecoprop-D6 | 11 | nan | M+H | C10H6[2]H6O3Cl1
678 | Mecoprop-D6 | 11 | nan | M-H | C10H4[2]H6O3Cl1
679 | Terbutryn-D5 | 18.1 |  | M+H | C10H15[2]H5N5S1
680 | Atrazin-Desisopropyl-D5 | 13.3 |  | M+H | C5H4[2]H5N5Cl1
681 | Atrazine-2-Hydroxy-D5 | 11.4 |  | M+H | C8H11[2]H5N5O1
682 | Carbendazim-D4 | 10.8 |  | M+H | C9H6[2]H4N3O2
683 | Propiconazol-D5 | 20.8 |  | M+H | C15H13[2]H5N3O2Cl2
685 | Phenazon-D3 (Antipyrin-d3) | 13.3 |  | M+H | C11H10[2]H3N2O1
686 | Irgarol-D9 | 18.6 |  | M+H | C11H11[2]H9N5S1
687 | Trimethoprim-D9 | 10.5 |  | M+H | C14H10[2]H9N4O3
688 | Octhilinon-D17 (2-n-Octyl-4-isothiazolin-3-on-D17 (OI-D17)) | 20 |  | M+H | C11H3[2]H17N1O1S1
689 | N4-Acetyl-Sulfathiazol-D4 | 12.2 |  | M+H | C11H8[2]H4N3O3S2
690 | Mefenamicacid-D3 | 14.7 | nan | M+H | C15H13[2]H3N1O2
690 | Mefenamicacid-D3 | 14.7 | nan | M-H | C15H11[2]H3N1O2
692 | Bezafibrat-D4 | 10.7 | nan | M+H | C19H17[2]H4N1O4Cl1
692 | Bezafibrat-D4 | 10.7 | nan | M-H | C19H15[2]H4N1O4Cl1
693 | Metoprolol-D7 | 12.3 |  | M+H | C15H19[2]H7N1O3
694 | Triclosan-13C6 | 15.1 | nan | M-H | C6[13]C6H6O2Cl3
696 | Propazin-D6 | 10.04 | nan | M+H | C9H11[2]H6N5Cl1
697 | Atenolol acid (Metoprolol acid) | 4.09 | nan | M+H | C14H22N1O4
698 | Chloridazone-desphenyl | 1.23 | nan | M+H | C4H5N3O1Cl1
699 | Chloridazone-methyl-desphenyl | 2.12 | nan | M+H | C5H7N3O1Cl1
700 | Pethoxamid | 11.85 | nan | M+H | C16H23N1O2Cl1
701 | Ritalinic acid | 4.96 | nan | M+H | C13H18N1O2
702 | Aminopyrine | 2.91 | nan | M+H | C13H18N3O1
703 | Sucralose | 4.7 | nan | M+FA-H | C13H21O10Cl3
703 | Sucralose | 4.7 | nan | M-H | C12H18O8Cl3
704 | Pinoxaden | 13.99 | nan | M+H | C23H33N2O4
705 | Metazachlor ESA | 5.7 | kleiner Vorpeak | M-H | C14H16N3O4S1
706 | Metazachlor OXA | 5.7 | kleiner Vorpeak | M-H | C14H14N3O3
707 | Dimethachlor | 9.38 | nan | M+H | C13H19N1O2Cl1
708 | Propachlor | 8.95 | nan | M+H | C11H15N1O1Cl1
709 | Flufenacet | 12.06 | nan | M+H | C14H14N3O2S1F4
804 | Benzoic acid, 3,5-dibromo-4-hydroxy- | 7.5 | nan | M-H | C7H3O3Br2
845 | 4-Aminoantipyrine | 4.04 | nan | M+H | C11H14N3O1
916 | Carbamazepine epoxide | 6.55 | Isobar zu Oxcarbazepin RT 0.4min vor Oxcarbazepin | M+H | C15H13N2O2
992 | Iminostilbene | 11.24 | Isobar zu ?? (RT von Iminostilben um 0.8 min niedriger) | M+H | C14H12N1
1034 | Venlafaxine-N-desmethyl | 6.61 | Isobar zu Tramadol und O-Desvenlafaxin (RT= 5.24/5.34), N-Desvenlafaxin RT = 6.69, Xbridge 87, Screenin-Gradient | M+H | C16H26N1O2
1038 | 4-Formylaminoantipyrine | 3.97 | nan | M+H | C12H14N3O2
1053 | Venlafaxine-O-desmethyl | 5.26 | Isobar zu Tramadol; RT 0.1min vor Tramadol!(RT= 5.24/5.34) MSMS unterschiedlich und isobar zu N-desvenlafaxin (RT = 6.69), Xbridge 87, Screening-Gradient | M+H | C16H26N1O2
2535 | Dimethachlor ESA | 6.1 | nan | M-H | C13H18N1O5S1
2536 | Dimethachlor OXA | 6.5 | Doppelpeak (auch in Einzeleinspritzung) (5.96+6.63) | M-H | C13H16N1O4
2550 | Metformin | 0.98 | nan | M+H | C4H12N5
2555 | Cilastatin | 5.48 | nan | M+H | C16H27N2O5S1
2561 | Gabapentin | 3.78 | nan | M+H | C9H18N1O2
2564 | Levetiracetam | 3.22 | nan | M+H | C8H15N2O2
2566 | 5-Fluorouracil | 1 | nan | M-H | C4H2N2O2F1
2567 | Tramadol | 5.26 | isobar zu O-Desvenlafaxine, RT 0.1min nach O-Desvenlafaxine!(RT= 5.24/5.34) MSMS ohne spezifisches Fragment in HCD (nur 58.064) und isobar zu N-desvenlafaxin (RT = 6.69), Xbridge 87, Screening-Gradient | M+H | C16H26N1O2
2572 | Lidocaine | 4.47 | nan | M+H | C14H23N2O1
2579 | Cyclophosphamide | 6.51 | Isobar zu Ifosfamid RT 6.15 | M+H | C7H16N2O2P1Cl2
2579 | Cyclophosphamide | 6.51 | Isobar zu Ifosfamid RT 6.15 | M+Na | C7H15N2O2P1Cl2Na1
2580 | Ritonavir | 13.79 | nan | M+H | C37H49N6O5S2
2583 | Valsartan | 11.31 | nan | M+H | C24H30N5O3
2583 | Valsartan | 11.31 | nan | M+Na | C24H29N5O3Na1
2589 | Gentamicin | 7.35 | nan | M+H | C60H124N15O21
2600 | Furosemide | 6.98 | nan | M-H | C12H10N2O5S1Cl1
2603 | Gemcitabine | 1.22 | nan | M+H | C9H12N3O4F2
2603 | Gemcitabine | 1.22 | nan | M+Na | C9H11N3O4F2Na1
2610 | Hydrochlorothiazide | 2.2 | nan | M-H | C7H7N3O4S2Cl1
2612 | Dexamethasone | 9.38 | Isobar zu Betamethason (gleiche RT!, Screening-Gradient, Xbridge) | M+H | C22H30O5F1
2612 | Dexamethasone | 9.38 | Isobar zu Betamethason (gleiche RT!, Screening-Gradient, Xbridge) | M+Na | C22H29O5F1Na1
2616 | 4-Methylaminoantipyrine | 2.7 | nan | M+H | C12H16N3O1
2616 | 4-Methylaminoantipyrine | 2.7 | nan | M-H | C12H14N3O1
2621 | Methylprednisolone | 9.56 | nan | M+H | C22H31O5
2626 | Diazepam | 10.4 | nan | M+H | C16H14N2O1Cl1
2637 | D617 | 6.63 | nan | M+H | C17H27N2O2
2642 | Sucralose-D6 | 4.7 | nan | M+H | C12H14[2]H6O8Cl3
2642 | Sucralose-D6 | 4.7 | nan | M+FA-H | C13H15[2]H6O10Cl3
2642 | Sucralose-D6 | 4.7 | nan | M-H | C12H12[2]H6O8Cl3
2643 | Diflufenican-D3 | 21.4 |  | M+H | C19H9[2]H3N2O2F5
2643 | Diflufenican-D3 | 21.4 |  | M+FA-H | C20H10[2]H3N2O4F5
2644 | Paracetamole-d4 (Acetaminophen-d4) | 10.3 |  | M+H | C8H6[2]H4N1O2
2645 | Primidon-D5 | 14.5 |  | M+H | C12H10[2]H5N2O2
2646 | Chlorpyrifos-D10 | 22.36 |  | M+H | C9H2[2]H10N1O3P1S1Cl3
2648 | Fenofibrate-D6 | 22.2 |  | M+H | C20H16[2]H6O4Cl1
2648 | Fenofibrate-D6 | 22.2 |  | M-H | C20H14[2]H6O4Cl1
2649 | 2',2'-Difluoro-2'-deoxyuridine | 1.78 | nan | M+H | C9H11N2O5F2
2649 | 2',2'-Difluoro-2'-deoxyuridine | 1.78 | nan | M+Na | C9H10N2O5F2Na1
2657 | Venlafaxine-N,O-didesmethyl | 5.18 | Isobar zu und N-Desmethyltramadol (RT=5.68) und N,N-Didesvenlafaxin (RT=6.74), N,O-Didesvenlafaxin: RT= 5.29, X-Bridge 87, Screening-Gradient; Atlantis 101: RT=12.02, Screening-Gradient; | M+H | C15H24N1O2
2658 | Venlafaxine-N,N-didesmethyl | 6.67 | Isobar zu und N-Desmethyltramadol (RT=5.68) und N,O-Didesvenlafaxin (RT= 5.29), N,N-Didesvenlafaxin: RT=6.74, X-Bridge 87, Screening-Gradient; Atlantis 101: RT=14.10, Screening-Gradient; | M+H | C15H24N1O2
2659 | Cyclophosphamid-D4 | 16.1 |  | M+H | C7H12[2]H4N2O2P1Cl2
2659 | Cyclophosphamid-D4 | 16.1 |  | M+Na | C7H11[2]H4N2O2P1Cl2Na1
2660 | Amidotrizoic acid-d6 | 10 |  | M+H | C11H4[2]H6N2O4I3
2660 | Amidotrizoic acid-d6 | 10 |  | M+Na | C11H3[2]H6N2O4I3Na1
2662 | Gabapentin-D4 | 10.4 |  | M+H | C9H14[2]H4N1O2
2663 | 2',2'-Difluoro-2-deoxyuridin-13C,15N2 | 9.4 |  | M+H | C8[13]C1H11[15]N2O5F2
2663 | 2',2'-Difluoro-2-deoxyuridin-13C,15N2 | 9.4 |  | M+Na | C8[13]C1H10[15]N2O5F2Na1
2664 | Gemcitabin-13C,15N2 | 6.5 |  | M+H | C8[13]C1H12N1[15]N2O4F2
2664 | Gemcitabin-13C,15N2 | 6.5 |  | M+Na | C8[13]C1H11N1[15]N2O4F2Na1
2665 | 5-Fluorouracil-15N2 | 1 | nan | M-H | C4H2[15]N2O2F1
2666 | Fipronil | 13 | nan | M+H | C12H5N4O1S1Cl2F6
2666 | Fipronil | 13 | nan | M-H | C12H3N4O1S1Cl2F6
2667 | Fipronil-sulfone | 13.8 | nan | M-H | C12H3N4O2S1Cl2F6
2668 | Fipronil-sulfide | 13.2 | nan | M-H | C12H3N4S1Cl2F6
2669 | Fipronil-desulfinyl | 12.6 | nan | M+H | C12H5N4Cl2F6
2669 | Fipronil-desulfinyl | 12.6 | nan | M-H | C12H3N4Cl2F6
2670 | Atenolol-desisopropyl | 1.18 | nan | M+H | C11H17N2O3
2672 | Cytarabine | 11.01 | nan | M+Na | C9H13N3O5Na1
2674 | 1,2-Bis-(4,4'-dinitro-2,2'-disulfosäure)-phenylethylenoxid NOT PUBLIC | 5.5 | nan | M+H | C14H11N2O11S2
2674 | 1,2-Bis-(4,4'-dinitro-2,2'-disulfosäure)-phenylethylenoxid NOT PUBLIC | 5.5 | nan | M-H | C14H9N2O11S2
2675 | Moclobemide | 4.74 | nan | M+H | C13H18N2O2Cl1
2676 | Lamotrigine | 5.63 | nan | M+H | C9H8N5Cl2
2678 | Naproxen-d3 | 19.1 |  | M+H | C14H12[2]H3O3
2679 | Norfloxacin-D5 | 4.54 | nan | M+H | C16H14[2]H5N3O3F1
2680 | Ciprofloxacin-D8 | 4.68 | nan | M+H | C17H11[2]H8N3O3F1
2681 | Levetiracetam-D3 | 10.9 |  | M+H | C8H12[2]H3N2O2
2682 | Reserpine | 8.7 | nan | M+H | C33H41N2O9
2682 | Reserpine | 8.7 | nan | M-H | C33H39N2O9
2682 | Reserpine | 8.7 | nan | M+Na | C33H40N2O9Na1
2683 | Ifosfamide | 6.17 | Isobar zu Cyclophosphamide RT 6.51 | M+H | C7H16N2O2P1Cl2
2683 | Ifosfamide | 6.17 | Isobar zu Cyclophosphamide RT 6.51 | M+Na | C7H15N2O2P1Cl2Na1
2684 | Diazepam-D5 | 19.1 |  | M+H | C16H9[2]H5N2O1Cl1
2685 | Fluconazol-D4 | 14.2 |  | M+H | C13H9[2]H4N6O1F2
2686 | Fluoxetine-D5 | 16.3 |  | M+H | C17H14[2]H5N1O1F3
2687 | Furosemide D5 | 15.9 |  | M-H | C12H5[2]H5N2O5S1Cl1
2688 | Indomethacin-D4 | 20.8 |  | M+H | C19H13[2]H4N1O4Cl1
2688 | Indomethacin-D4 | 20.8 |  | M+Na | C19H12[2]H4N1O4Cl1Na1
2689 | Iomeprol-D3 | 8.7 |  | M+H | C17H20[2]H3N3O8I3
2689 | Iomeprol-D3 | 8.7 |  | M+NH4 | C17H23[2]H3N4O8I3
2690 | Iopamidol-D3 | 7.8 |  | M+H | C17H20[2]H3N3O8I3
2690 | Iopamidol-D3 | 7.8 |  | M+NH4 | C17H23[2]H3N4O8I3
2691 | Ioxitalaminsäure-D4 | 9.1 |  | M+H | C12H8[2]H4N2O5I3
2691 | Ioxitalaminsäure-D4 | 9.1 |  | M+NH4 | C12H11[2]H4N3O5I3
2692 | Lidocain-D10 | 11.2 |  | M+H | C14H13[2]H10N2O1
2693 | Methylprednisolon-D3 | 18.7 |  | M+H | C22H28[2]H3O5
2694 | Ranitidin-D6 | 8.6 |  | M+H | C13H17[2]H6N4O3S1
2695 | Ritalinsäure-D10 | 12.2 |  | M+H | C13H8[2]H10N1O2
2696 | Ritonavir-D6 | 20.7 |  | M+H | C37H43[2]H6N6O5S2
2698 | Venlafaxin-D6 | 14 |  | M+H | C17H22[2]H6N1O2
2699 | Verapamil-D6 | 15.1 |  | M+H | C27H33[2]H6N2O4
2700 | Tramadol-D6 | 12.2 |  | M+H | C16H20[2]H6N1O2
2701 | Carbamazepine-10,11-dihydro-10,11-dihydroxy | 6.24 | 2 Peaks bei Einzeleinsp. 5.91 und 4.15 | M+H | C15H15N2O3
2701 | Carbamazepine-10,11-dihydro-10,11-dihydroxy | 6.24 | 2 Peaks bei Einzeleinsp. 5.91 und 4.15 | M+Na | C15H14N2O3Na1
2702 | Iohexol-D5 | 8.6 |  | M+H | C19H22[2]H5N3O9I3
2702 | Iohexol-D5 | 8.6 |  | M+NH4 | C19H25[2]H5N4O9I3
2703 | Hydrochlorothiazid-C13, D2 | 2.2 | nan | M-H | C6[13]C1H5[2]H2N3O4S2Cl1
2704 | 3,5,6-Trichloro-2-pyridinol | 10 | nan | M-H | C5H1N1O1Cl3
2705 | Diazoxon | 9.59 | nan | M+H | C12H22N2O4P1
2706 | 6-Pyrimidinol, 2-isopropyl-4-methyl | 3.67 | nan | M+H | C8H13N2O1
2707 | Iodixanol | 10.8 |  | M+H | C35H45N6O15I6
2707 | Iodixanol | 10.8 |  | M-H | C35H43N6O15I6
2708 | Dioxoaminopyrine | 5.46 | nan | M+H | C13H18N3O3
2709 | Imidacloprid | 5 | nan | M+H | C9H11N5O2Cl1
2709 | Imidacloprid | 5 | nan | M-H | C9H9N5O2Cl1
2710 | MCPB | 12.2 | nan | M-H | C11H12O3Cl1
2711 | Pirimicarb | 5.32 | nan | M+H | C11H19N4O2
2712 | Pyrimethanil | 7.92 | nan | M+H | C12H14N3
2713 | perfluorobutanoic acid | 5.1 | nan | M-H | C4O2F7
2714 | perfluoropentanoic acid | 7.5 | nan | M-H | C5O2F9
2715 | perfluorohexanoic acid | 9.4 | nan | M-H | C6O2F11
2716 | perfluoroheptanoic acid | 11.1 | nan | M-H | C7O2F13
2717 | perfluorooctanoic acid | 12.7 | nan | M-H | C8O2F15
2718 | perfluorononanoic acid | 14 | nan | M-H | C9O2F17
2719 | Metformin-D6 | 0.95 | nan | M+H | C4H6[2]H6N5
2720 | perfluorodecanoic acid | 15.1 | nan | M-H | C10O2F19
2721 | Iopromid-D3 | 9.9 |  | M+H | C18H22[2]H3N3O8I3
2721 | Iopromid-D3 | 9.9 |  | M+NH4 | C18H25[2]H3N4O8I3
2722 | perfluoroundecanoic acid | 16.2 | nan | M-H | C11O2F21
2723 | perfluorododecanoic acid | 17.1 | nan | M-H | C12O2F23
2724 | perfluorotridecanoic acid | 21.9 |  | M-H | C13O2F25
2725 | perfluorotetradecanoic acid | 21 |  | M-H | C14O2F27
2726 | perfluorobutyl sulfonate | 7.7 | nan | M-H | C4O3S1F9
2727 | perfluorohexylyl sulfonate | 11.1 | nan | M-H | C6O3S1F13
2728 | perfluorooctyl sulfonate (PFOS) | 13.8 | nan | M-H | C8O3S1F17
2729 | perfluorooctane sulfonamide | 12.6 | nan | M-H | C8H1N1O2S1F17
2730 | N-Methylperfluoroctansulfonamid (N-MeFOSA) | 2.5 |  | M-H | C9H3N1O2S1F17
2731 | N-Ethylperfluoroctansulfonamid (N-EtFOSA) | 22.32 |  | M-H | C10H5N1O2S1F17
2732 | 6:2 fluorotelomer unsaturated carboxylic acid | 13.8 | nan | M-H | C8H1O2F12
2733 | 8:2 fluorotelomer unsaturated carboxylic acid | 16.2 | nan | M-H | C10H1O2F16
2734 | Azoxystrobin acid | 17.9 |  | M+H | C21H16N3O5
2734 | Azoxystrobin acid | 17.9 |  | M-H | C21H14N3O5
2736 | Iotalamic acid | 1.74 | nan | M+H | C11H10N2O4I3
2736 | Iotalamic acid | 1.74 | nan | M+NH4 | C11H13N3O4I3
2737 | Ranitidin-S-oxid | 1.07 | nan | M+H | C13H23N4O4S1
2738 | Ranitidin-N-oxid | 2.65 | nan | M+H | C13H23N4O4S1
2739 | Climbazol | 8.47 | nan | M+H | C15H18N2O2Cl1
2740 | Tritosulfuron | 10.93 | nan | M+H | C13H10N5O4S1F6
2740 | Tritosulfuron | 10.93 | nan | M+Na | C13H9N5O4S1F6Na1
2741 | Propazin | 10.04 | nan | M+H | C9H17N5Cl1
2742 | Thiopental | 9.08 | nan | M-H | C11H17N2O2S1
2743 | Oxazepam | 9.03 | nan | M+H | C15H12N2O2Cl1
2744 | Morphine | 1.43 | nan | M+H | C17H20N1O3
2745 | Atenolol acid-d5 (Metoprolol acid-d5) | 10.5 |  | M+H | C14H17[2]H5N1O4
2746 | PFBA-13C4 | 5.1 | nan | M-H | [13]C4O2F7
2747 | PFHxA-13C2 | 9.4 | nan | M-H | C4[13]C2O2F11
2748 | PFHxS-18O2 | 11.1 | nan | M+NH4 | C6H5O1[18]O2S1F13N1
2748 | PFHxS-18O2 | 11.1 | nan | M-H | C6O1[18]O2S1F13
2749 | PFOA-13C4 | 12.7 | nan | M-H | C4[13]C4O2F15
2750 | 6:2 FTUCA-13C2 | 13.8 | nan | M-H | C6[13]C2H1O2F12
2751 | PFDA-13C2 | 15.1 | nan | M-H | C8[13]C2O2F19
2752 | PFOS-13C4 | 13.8 | nan | M-H | C4[13]C4O3S1F17
2756 | Acesulfame | 1.5 | nan | M-H | C4H4N1O4S1
2758 | Ephedrine | 9.6 |  | M+H | C10H16N1O1
2761 | Dimethoat | 14.5 |  | M+H | C5H13N1O3P1S2
2763 | Dimethoat-D6 | 14.4 |  | M+H | C5H7[2]H6N1O3P1S2
2764 | Carbamazepin-10,11-epoxid- 13C, D2 | 15.7 |  | M+H | C14[13]C1H11[2]H2N2O2
2766 | Venlafaxin-N-desmethyl-D3 | 14.1 |  | M+H | C16H23[2]H3N1O2
2767 | Venlafaxine-N,O-didesmethyl-d3 | 12.2 |  | M+H | C15H21[2]H3N1O2
2768 | O-Desmethylvenlafaxin-D6 | 12 |  | M+H | C16H20[2]H6N1O2
2769 | Chloridazon-desphenyl-15N2 | 1.24 | nan | M+H | C4H5N1[15]N2O1Cl1
2770 | Aspartam | 4.93 | nan | M+H | C14H19N2O5
2772 | Cetirizine | 9.5 | nan | M+H | C21H26N2O3Cl1
2773 | Acesulfame-D4 | 8.9 |  | M-H | C4[2]H4N1O4S1
2774 | Irbesartan | 9.44 | nan | M+H | C25H29N6O1
2775 | Irbesartan-D3 | 9.44 | nan | M+H | C25H26[2]H3N6O1
2776 | Eprosartan | 6.32 | nan | M+H | C23H25N2O4S1
2777 | Eprosartan-D3 | 6.32 | nan | M+H | C23H22[2]H3N2O4S1
2778 | Foramsulfuron | 7.85 | nan | M+H | C17H21N6O7S1
2779 | Pyraclostrobin | 13.46 | nan | M+H | C19H19N3O4Cl1
2780 | Codeine | 2.85 | Isobar mit Hydrocodone (RT=3.66) --> Peak mit niedriger RT ist Codein (RT=3.09, Xbridge 87, Screening Gradient) | M+H | C18H22N1O3
2781 | Metoclopramid | 4.41 | nan | M+H | C14H23N3O2Cl1
2782 | Ethambutol | 1 | nan | M+H | C10H25N2O2
2783 | Prednisolone | 8.06 | Isobar zu Cortison (RT von Prednisolon ist um 0.5 min höher; Screening-Gradient, Xbridge) | M+H | C21H29O5
2784 | NN-Dimethyldecylamin N-oxid | 10.32 | nan | M+H | C12H28N1O1
2785 | Benzyl-dimethyl-dodecylammonium | 13.9 | nan | M+H | C21H39N1
2785 | Benzyl-dimethyl-dodecylammonium | 13.9 | nan | M+NH4 | C21H42N2
2786 | Dimethyldioctadecylammonium (DADMAC (C18:C18)) | 21.24 | nan | M+H | C38H81N1
2786 | Dimethyldioctadecylammonium (DADMAC (C18:C18)) | 21.24 | nan | M+NH4 | C38H84N2
2787 | Benzyldimethyltetradecylammonium | 15.8 | nan | M+H | C23H43N1
2787 | Benzyldimethyltetradecylammonium | 15.8 | nan | M+NH4 | C23H46N2
2788 | Didecyldimethylammonium (DADMAC (C10:C10)) | 16.5 | nan | M+H | C22H49N1
2788 | Didecyldimethylammonium (DADMAC (C10:C10)) | 16.5 | nan | M+NH4 | C22H52N2
2789 | Spiroxamine | 17 |  | M+H | C18H36N1O2
2790 | Aspartame-D5 | 12.5 |  | M+H | C14H14[2]H5N2O5
2792 | 5-Metyhl-1H-benzotriazole-D6 | 15.4 |  | M+H | C7H2[2]H6N3
2793 | Sulfapyridine D4 | 10.7 |  | M+H | C11H8[2]H4N3O2S1
2794 | Losartan | 18.1 |  | M+H | C22H24N6O1Cl1
2795 | Valsartan acid | 16.09 |  | M+H | C14H11N4O2
2796 | Valsartansäure-D4 | 16.09 |  | M+H | C14H7[2]H4N4O2
2797 | Valsartan-13C5,15N | 19.24 |  | M+H | C19[13]C5H30N4[15]N1O3
2798 | 1-Methyl-1H-benzotriazole | 14 |  | M+H | C7H8N3
2802 | Rosuvastatin | 18.3 |  | M+H | C22H29N3O6S1F1
2802 | Rosuvastatin | 18.3 |  | M+Na | C22H28N3O6S1F1Na1
2803 | Bupropion | 13.5 |  | M+H | C13H19N1O1Cl1
2804 | Candesartan | 18.7 |  | M+H | C24H21N6O3
2805 | Telmisartan | 17.1 |  | M+H | C33H31N4O2
2807 | Tacrolimus | 22.3 |  | M+Na | C44H69N1O12Na1
2808 | Mycophenolic acid | 18.8 |  | M+H | C17H21O6
2808 | Mycophenolic acid | 18.8 |  | M-H | C17H19O6
2808 | Mycophenolic acid | 18.8 |  | M+Na | C17H20O6Na1
2809 | Bicalutamide | 18.1 |  | M-H | C18H13N2O4S1F4
2810 | Atorvastatin | 19.8 |  | M+H | C33H36N2O5F1
2812 | Alitame | 12.3 |  | M+H | C14H26N3O4S1
2812 | Alitame | 12.3 |  | M-H | C14H24N3O4S1
2813 | Cyclamate (Cyclamic acid) | 13.7 |  | M-H | C6H12N1O3S1
2814 | Neohesperidin dihydrochalcone | 16.1 |  | M-H | C28H35O15
2814 | Neohesperidin dihydrochalcone | 16.1 |  | M+Na | C28H36O15Na1
2815 | Neotame | 17 |  | M+H | C20H31N2O5
2815 | Neotame | 17 |  | M+Na | C20H30N2O5Na1
2816 | Saccharin | 11.1 |  | M-H | C7H4N1O3S1
2817 | Cocaine | 12.2 |  | M+H | C17H22N1O4
2818 | 1-(3-Chlorophenyl)piperazine | 12.6 |  | M+H | C10H14N2Cl1
2818 | 1-(3-Chlorophenyl)piperazine | 12.6 |  | M-H | C10H12N2Cl1
2819 | 1-(3-Trifluoromethylphenyl)-piperazine (TFMPP) | 13.62 |  | M+H | C11H14N2F3
2820 | 1-Benzylpiperazine | 3.53 |  | M+H | C11H17N2
2821 | Amitriptyline | 16.14 |  | M+H | C20H24N1
2822 | Amphetamine | 10.5 |  | M+H | C9H14N1
2823 | Benzoylecgonine | 12.8 |  | M+H | C16H20N1O4
2823 | Benzoylecgonine | 12.8 |  | M+Na | C16H19N1O4Na1
2824 | Dextromethorphan | 14.6 |  | M+H | C18H26N1O1
2825 | EDDP (2-Ethylidene-1,5-dimethyl-3,3-diphenylpyrrolidin) | 14.4 |  | M+H | C20H24N1
2826 | Ketamine | 11.7 |  | M+H | C13H17N1O1Cl1
2827 | Mephedrone (4-Methylmethcathinone) | 11.4 |  | M+H | C11H16N1O1
2828 | (+/-)-Methadone | 15.7 |  | M+H | C21H28N1O1
2829 | Methamphetamine | 10.6 |  | M+H | C10H16N1
2830 | Naltrexone | 9.7 |  | M+H | C20H24N1O4
2830 | Naltrexone | 9.7 |  | M+Na | C20H23N1O4Na1
2831 | 1.4-CHD (Basel_Industrie01) | 22.22 |  | M-H | C6H7
2898 | Iobitridol | 7.3 |  | M+NH4 | C20H32N4O9I3
2905 | Myristyltrimethylammonium | 19.4 |  | M+NH4 | C17H42N2
2906 | Didodecyldimethylammonium | 20 |  | M+NH4 | C26H60N2
2907 | Dodecyltrimethylammonium | 18 |  | M+NH4 | C15H38N2
2908 | Dihexadecyldimethylammonium (DADMAC (C16:C16)) | 23.2 |  | M+NH4 | C34H76N2
2909 | Benzyldimethylhexadecylammonium | 20.2 |  | M+NH4 | C25H50N2
2911 | Trimethyloctadecylammonium (Octadecyl-trimethylamm.) | 20.85 |  | M+NH4 | C21H50N2
2912 | Hexadecyltrimethylammonium (ATMAC 16) | 20 |  | M+NH4 | C19H46N2
2913 | Dimethylditetradecylammonium (ATMAC 18) | 20.73 |  | M+NH4 | C30H68N2
2920 | N-methylperfluorooctane sulfonamidoacetic acid | 22.22 |  | M+NH4 | C11H10N2O4S1F17
2965 | Metolachlor-ESA D11 | 16.6 |  | M+H | C15H13[2]H11N1O5S1
2965 | Metolachlor-ESA D11 | 16.6 |  | M-H | C15H11[2]H11N1O5S1
2975 | Cetirizin-D8 | 17.4 |  | M+NH4 | C21H21[2]H8N3O3Cl1
2979 | Meclizine-d8 | 17.3 |  | M+H | C25H20[2]H8N2Cl1
2979 | Meclizine-d8 | 17.3 |  | M-H | C25H18[2]H8N2Cl1
2990 | Piperonyl butoxide | 22.7 |  | M+NH4 | C19H34O5N1
3005 | Pheniramine | 10.9 |  | M+H | C16H21N2
3005 | Pheniramine | 10.9 |  | M-H | C16H19N2
3049 | Famoxadone | 20.5 |  | M+NH4 | C22H22N3O4
3081 | Aldicarb (N-methyl-13C,D3-carbamoyl-13C) | 16 |  | M+NH4 | C5[13]C2H15[2]H3N3O2S1
3096 | Methidathion | 18.6 |  | M+NH4 | C6H15N3O4P1S3
3130 | Stiripentol | 15 |  | M+H | C14H19O3
3130 | Stiripentol | 15 |  | M-H | C14H17O3
3177 | Tembotrione | 18.57 |  | M+NH4 | C17H20O6S1Cl1F3N1
3254 | Pheniramine-N-oxide | 11.5 |  | M+H | C16H21N2O1
3254 | Pheniramine-N-oxide | 11.5 |  | M-H | C16H19N2O1
3273 | Pramoxine | 15.2 |  | M+H | C17H28N1O3
3273 | Pramoxine | 15.2 |  | M-H | C17H26N1O3
3274 | Mianserin | 14.6 |  | M+H | C18H21N2
3274 | Mianserin | 14.6 |  | M-H | C18H19N2
3275 | R-(-)Deprenyl | 11.3 |  | M+H | C13H18N1
3275 | R-(-)Deprenyl | 11.3 |  | M-H | C13H16N1
3277 | Normianserin | 14.8 |  | M+H | C17H19N2
3277 | Normianserin | 14.8 |  | M-H | C17H17N2
3278 | Mianserin-N-Oxide | 15.2 |  | M+H | C18H21N2O1
3278 | Mianserin-N-Oxide | 15.2 |  | M-H | C18H19N2O1
3279 | Lidocaine-N-Oxide | 12.2 |  | M+H | C14H23N2O2
3279 | Lidocaine-N-Oxide | 12.2 |  | M-H | C14H21N2O2
3280 | Nornicotine | 3.4 |  | M+H | C9H13N2
3280 | Nornicotine | 3.4 |  | M-H | C9H11N2
3281 | Deprenyl-N-desmethyl | 11.5 |  | M+H | C12H16N1
3281 | Deprenyl-N-desmethyl | 11.5 |  | M-H | C12H14N1
3282 | Cotinine | 3.92 |  | M+H | C10H13N2O1
3282 | Cotinine | 3.92 |  | M-H | C10H11N2O1
3298 | Bromochlorophene | 22.7 |  | M+H | C13H9O2Cl2Br2
3298 | Bromochlorophene | 22.7 |  | M-H | C13H7O2Cl2Br2
3303 | Lufenuron | 21.95 |  | M+NH4 | C17H12N3O3Cl2F8
3316 | Linoleic acid | 21.2 |  | M+H | C18H33O2
3316 | Linoleic acid | 21.2 |  | M-H | C18H31O2
3360 | Darunavir-d9 | 18 |  | M+H | C27H29[2]H9N3O7S1
3360 | Darunavir-d9 | 18 |  | M-H | C27H27[2]H9N3O7S1
3376 | Benzophenone-d10 | 19 |  | M+H | C13[2]H10O1H1
3376 | Benzophenone-d10 | 19 |  | M-H | H from formula 2 not part of formula1
3380 | 4-Chlorobenzophenone | 20.4 |  | M+H | C13H10O1Cl1
3380 | 4-Chlorobenzophenone | 20.4 |  | M-H | C13H8O1Cl1
3389 | 2,4-Dichlorobenzoic acid | 19.11 |  | M+H | C7H5O2Cl2
3389 | 2,4-Dichlorobenzoic acid | 19.11 |  | M-H | C7H3O2Cl2
3401 | Losartan-D4 | 18.3 |  | M+H | C22H20[2]H4N6O1Cl1
3401 | Losartan-D4 | 18.3 |  | M-H | C22H18[2]H4N6O1Cl1